| ID | Main Category | Vendor | alarm_id | alarm_name |
| --- | --- | --- | --- | --- |
| 1 | Site Down | ZTE | 198094422 | eNodeB is out of service |
| 1 | Site Down | ZTE | 198099803 | Link between OMM and NE broken |
| 1 | Site Down | ZTE | 199083023 | NodeB is out of service |
| 1 | Site Down | ZTE | 198094420 | S1 link is broken |
| 1 | Site Down | ZTE | 198087337 | Site Abis control link broken |
| 1 | Site Down | ZTE | 199087337 | Site Abis control link broken |
| 1 | Site Down | Huawei | 21825 | CSL Fault |
| 1 | Site Down | Huawei | 29249 | eNodeB Out of Service |
| 1 | Site Down | Huawei | 22214 | NodeB Unavailable |
| 1 | Site Down | Huawei | 21807 | OML Fault |
| 1 | Site Down | ZTE | 198083023 | NodeB is out of service |
| 2 | Ne is Disconnected | Huawei | 301 | NE Is Disconnected |
| 3 | Power Failure | Huawei | 28003 | AC Input Power Failure |
| 3 | Power Failure | Huawei | 65099 | Mains Failure |
| 3 | Power Failure | Huawei | 65110 | Mains Failure Alarm |
| 3 | Power Failure | Huawei | 25622 | Mains Input Out of Range |
| 3 | Power Failure | Huawei | 26108 | Mains Input Out of Range |
| 3 | Power Failure | Huawei | 2362 | No Mains Supply Alarm |
| 3 | Power Failure | Huawei | 3922 | No AC Power Alarm |
| 3 | Power Failure | Huawei | 5700 | No AC Input Alarm |
| 3 | Power Failure | Huawei | 5886 | No Mains Supply Alarm |
| 3 | Power Failure | Huawei | 5988 | No Mains Supply Alarm |
| 3 | Power Failure | Huawei | 10774 | No AC Input Alarm |
| 3 | Power Failure | Huawei | 13070 | Mains Input Abnormal |
| 3 | Power Failure | Huawei | 65132 | Mains Failure |
| 3 | Power Failure | Huawei | 65400 | Mains Failure |
| 3 | Power Failure | Huawei | 65403 | Mains Failure |
| 4 | Tx | ZTE | 198098252 | The physical Ethernet link is broken |
| 4 | Tx | ZTE | 198092230 | The SCTP association is broken |
| 4 | Tx | Huawei | 25889 | SCTP Link Congestion |
| 4 | Tx | Huawei | 21541 | SCTP Link Fault |
| 4 | Tx | Huawei | 25888 | SCTP Link Fault |
| 4 | Tx | Huawei | 21542 | SCTP Link Congestion |
| 4 | Tx | ZTE | 198085025 | SCTP association is interrupted. |
| 4 | Tx | ZTE | 198092428 | The SCTP path is broken |
| 4 | Tx | ZTE | 198092735 | SCTP association broken |
| 4 | Tx | ZTE | 198093827 | SCTP association is interrupted |
| 4 | Tx | ZTE | 198094001 | SCTP path broken |
| 5 | Cell Down | ZTE | 198087342 | Cell interruption alarm |
| 5 | Cell Down | ZTE | 199083022 | Cell is out of service |
| 5 | Cell Down | ZTE | 198094461 | Cell shutdown alarm |
| 5 | Cell Down | ZTE | 198094419 | LTE cell outage |
| 5 | Cell Down | Huawei | 29240 | Cell Unavailable |
| 5 | Cell Down | Huawei | 21801 | GSM Cell out of Service |
| 5 | Cell Down | Huawei | 28016 | GSM Local Cell Unusable |
| 5 | Cell Down | Huawei | 29201 | S1 Interface Fault |
| 5 | Cell Down | Huawei | 22202 | UMTS Cell Unavailable |
| 5 | Cell Down | ZTE | 198083022 | Cell is out of service |
| 6 | TRX Down | Huawei | 26234 | BBU CPRI Interface Error |
| 6 | TRX Down | Huawei | 26230 | BBU CPRI Optical Module Fault |
| 6 | TRX Down | Huawei | 26235 | RF Unit Maintenance Link Failure |
| 6 | TRX Down | Huawei | 28011 | RF Unit RX Channel Fault |
| 6 | TRX Down | Huawei | 21803 | TRX Manually Blocked |
| 6 | TRX Down | Huawei | 2114 | TRX LAPD Link Interrupt Alarm |
| 6 | TRX Down | Huawei | 2148 | TRX Hardware Critical Alarm |
| 6 | TRX Down | Huawei | 2156 | TRX VSWR Alarm |
| 6 | TRX Down | Huawei | 2180 | TRX Band Mismatch ARFCN |
| 6 | TRX Down | Huawei | 2204 | TRX Communication Alarm |
| 6 | TRX Down | Huawei | 4134 | Environment Alarm |
| 6 | TRX Down | Huawei | 4136 | Environment Alarm |
| 6 | TRX Down | Huawei | 4144 | Environment Alarm |
| 6 | TRX Down | Huawei | 4192 | Environment Alarm |
| 6 | TRX Down | Huawei | 5326 | Level 1 VSWR Alarm |
| 6 | TRX Down | Huawei | 5328 | Level 2 VSWR Alarm |
| 6 | TRX Down | Huawei | 12828 | RX Channel Failure Alarm |
| 6 | TRX Down | Huawei | 12830 | Level 1 VSWR Alarm |
| 6 | TRX Down | Huawei | 12832 | Level 2 VSWR Alarm |
| 6 | TRX Down | Huawei | 21804 | Channel Manually Blocked |
| 6 | TRX Down | Huawei | 26312 | Inter-BBU Optical Module Receive Failure |
| 6 | TRX Down | Huawei | 26313 | Inter-BBU Optical Module Transmit Failure |
| 7 | BTS Highrooms | Huawei | 65107 | Air Condition Fail |
| 7 | BTS Highrooms | Huawei | 25656 | Cabinet Air Inlet Temperature Unacceptable |
| 7 | BTS Highrooms | Huawei | 25652 | Cabinet Temperature Unacceptable |
| 7 | BTS Highrooms | Huawei | 65109 | High Room Temperature |
| 7 | BTS Highrooms | Huawei | 65123 | Transmission Room HighTemperature |
| 7 | BTS Highrooms | Huawei | 65098 | Tx High Room Temperature |
| 7 | BTS Highrooms | Huawei | 2340 | Rack High Temperature Alarm |
| 7 | BTS Highrooms | Huawei | 2356 | Battery high temperature alarm |
| 7 | BTS Highrooms | Huawei | 2376 | Over Temperature Alarm |
| 7 | BTS Highrooms | Huawei | 3834 | Over Temperature Alarm |
| 7 | BTS Highrooms | Huawei | 3948 | Battery Temperature Too High Alarm |
| 7 | BTS Highrooms | Huawei | 5720 | Battery Temperature Too High Alarm |
| 7 | BTS Highrooms | Huawei | 5864 | Rack High Temperature Alarm |
| 7 | BTS Highrooms | Huawei | 6014 | Battery Temperature Too High Alarm |
| 7 | BTS Highrooms | Huawei | 6412 | Over Temperature Alarm |
| 7 | BTS Highrooms | Huawei | 13092 | Cabinet Temperature Abnormal |
| 7 | BTS Highrooms | Huawei | 25720 | Inter-CCU Port Connection Error |
| 7 | BTS Highrooms | Huawei | 65232 | Tx Other Operator Cabin High Room Temperature |
| 7 | BTS Highrooms | Huawei | 65408 | Air Condition Fail |
| 7 | BTS Highrooms | Huawei | 65424 | Transmission High Room Temperature |
| 7 | BTS Highrooms | Huawei | 65431 | High Room Temperature |
| 8 | VSWR and RRU Hardware Fault | ZTE | 198098467 | Internal fault |
| 8 | VSWR and RRU Hardware Fault | ZTE | 198098465 | VSWR of the antenna feeder abnormal |
| 8 | VSWR and RRU Hardware Fault | Huawei | 26532 | RF Unit Hardware Fault |
| 8 | VSWR and RRU Hardware Fault | Huawei | 26520 | RF Unit TX Channel Gain Out of Range |
| 8 | VSWR and RRU Hardware Fault | Huawei | 26529 | RF Unit VSWR Threshold Crossed |
| 9 | Generator Running Alarms | ZTE | 198092573 | Generator on Load |
| 9 | Generator Running Alarms | Huawei | 65096 | Generator Running Alarm |